# MFB gjesus3 RDM: Extended Metadata

Each primary data file stored in the ‘raw’ storage area of gjesus3 should be associated with metadata, often beyond what we want to capture in a simple registry. We are calling this the file specific extended metadata. It is recommended to adopt domain-specific community standards for metadata and ontologies. There is still an open discussion on exactly what data will be allowed in the ‘raw’ storage area. Since most of the data discussed so far has focused on biological imaging data, we will start with the highly adopted REMBI set of fields (called attributes in the paper). This standard is accepted by relevant communities in including Euro BioImaging. Many of the fields may be used or modified for inorganic / nano-material imaging (comments welcome for this too).

Note that some metadata fields may be collectable in an automated fashion – imagine just providing the animal ID (like in a file name) and automatically pulling sample data out of the animal facility database OR using the ELN to register compounds like nanomaterials as resources and using a script to pull the sample metadata from there using a resource ID.

Below we have two sections:

- A description and example of REMBI metadata and some possible alternatives for other materials.

- A table of REMBI fields – Please comment on the value of REMBI fields.

## REMBI descriptions

This is well published, so I will simple point to existing documents I found useful.

- Paper - https://www.nature.com/articles/s41592-021-01166-8#MOESM1

- Supplimental with actual tables of values, examples and more description - https://static-content.springer.com/esm/art%3A10.1038%2Fs41592-021-01166-8/MediaObjects/41592_2021_1166_MOESM1_ESM.pdf

- An excel tool and example:

  - Description of example - https://zenodo.org/records/14503917

  - Completed example excel - POST-PUB_Wagner_template_noMacros_filled-in_v1-0-2.xlsm

If we wanted to do something similar around nanomaterial imaging, I think keeping the imaging specific metadata fields the same as for biological imaging.  However, the sample description would be different.  I am not as familiar with material characterization, but I found some examples and would appreciate comments.

ISA-TAB-Nano – I like this style as it extends the existing ISA style, but I would be specifically interested in how they are describing materials.  See the material file description and examples (fig 1, 2 and 3) in this paper: https://pmc.ncbi.nlm.nih.gov/articles/PMC3598649/.

## REMBI Field Table

| Field | Description |
| --- | --- |
| Study |  |
| Study type | Type of the overall study, which may include other imaging and/ or non-imaging data |
| Study description | Study description, e.g., title of published paper |
| General dataset info | Authors, publications, licenses etc |
| Study component |  |
| Imaging method | Technique used to acquire image data |
| Study component description | Description specific to this image dataset component |
| Biosample |  |
| Identity | Internal unique ID |
| Biological entity | What is being imaged |
| Organism | Species |
| Intrinsic variable | Intrinsic (e.g. genetic) alteration if applicable |
| Extrinsic variable | External biosample treatment (e.g. reagent) if applicable |
| Experimental variables | What is intentionally varied (e.g. time) between multiple entries in this study component |
| Specimen |  |
| Experimental status | Test/ control |
| Location within Biosample | Plate/dish coordinate or tissue location |
| Preparation method | Sample preparation protocol |
| Signal/contrast mechanism | How is the signal generated by this sample |
| Channel - content | Specific specimen staining (e.g. IEM, DAB) |
| Channel - biological entity | What molecule is stained |
| Image acquisition |  |
| Instrument attributes | Details about instruments used |
| Image acquisition parameters | Image acquisition details |
| Image data |  |
| Type | Primary image/processed image/segmentation |
| Format & compression | File type |
| Dimension extents | Volume in pixels: x, y, z, tilts |
| Size description | Physical size of image volume in x,y,z & units (pull-down), OR magnification |
| Pixel/voxel size description | Physical size of pixels in x, y, z & units (pull-down) |
| Channel information | How are individual channels represented in the image |
| Image processing method | Image registration, other processing applied to this dataset |
| Contrast inversion to TEM | Y/N; N if stained features result in brighter (whiter) signal; Y if it looks like a TEM image |
| QC info | QC score for uploaded image quality if applicable |
| Image Correlation |  |
| Spatial and temporal alignment | Method used to correlate images from different modalities (e.g. manual overlay, alignment algorithm etc) |
| Fiducials used | Features from correlated datasets used for colocalization |
| Transformation matrix/ other info | Correlation transformations |
| Related images and relationship | Correlated dataset or images |
| Analysed data |  |
| Analysis result type | Numerical analyses, segmention (non-image), categorical features/phenotypes |
| Data used for analysis | Specific feature set used for analysis (e.g. volume measurements, locations of features) |
| Analysis method and details | Analysis method |